| ProCab part number | Abbey part number | Description |  |
| --- | --- | --- | --- |
| 1317144 | WD940709 | 7-9mm 316SS HEAVY HALF SADDLE | DIN1596,ELECTO POLISH, 7mm FIX |
| 1317145 | WD949513 | 9.5-13mm 316 HEAVY HALF SADDLE | DIN1596,ELECTO POLISH, 7mm FIX |
| 1317146 | WD943155 | 13-15.5m 316 HEAVY HALF SADDLE | DIN1596,ELECTO POLISH, 7mm FIX |
| 1317147 | WD945195 | 15-19.5m 316 HEAVY HALF SADDLE | DIN1596,ELECTO POLISH, 7mm FIX |
| 992911 | WD942326 | 23-26mm 316 HEAVY HALF SADDLE | DIN1596,ELECTO POLISH, 7mm FIX |